## Slide 1: RA 505 Robot Sensing and Vision Lecture 38
Dr. Rishikesh Kulkarni
Department of Electronics and Electrical Engineering
IIT Guwahati

## Slide 2: Analog-to-Digital Convertor: Ramp technique
+- 0.005% accuracy

## Slide 3: Analog-to-Digital Convertor: Dual-slope
Excellent noise rejection; +- 0.05% accuracy in 100 ms.

## Slide 4: A/D Signal-to-noise ratio
The quantization process in the A/D converter produces noise in the converted signal.
The quantification of it is done in terms of signal-to-noise ratio (SNR) of A/D converter.
SNR = 6.02N + 1.76 dB (N-bit ADC)
https://www.analog.com/media/en/training-seminars/tutorials/MT-001.pdf

## Slide 5: Bridge Circuits
Ubiquity of resistive sensors
  Displacement
  Pressure
  Temperature
  Humidity
  Force
  Flow
Bridge configurations
Non-linearity
Bridge sensitivity

## Slide 6: Bridge Circuits

## Slide 7: Bridge Compensation

## Slide 8: Operational Amplifier
Signal conditioning
  Amplification
  Filtering
  Linearization
Op-amp parameters
  Open-Loop Voltage Gain, Slew rate, input offset voltage, input bias current, input offset current, output offset voltage Common Mode Rejection Ratio (CMMR), power supply rejection ratio (PSRR), differential input impedance, output impedance, average temperature coefficient of input offset current, average temperature coefficient of input offset voltage, output short circuit current, etc.

## Slide 9: Amplifiers
Non-inverting amplifier
  Non-ideal open loop gain
Inverting amplifier
Integrator
  Input signal time period
  Time-constant
Differentiator

## Slide 10: Amplifier
Summing amplifier
Subtracting amplifier
Instrumentation amplifier
  Selectable gain with high gain accuracy and gain linearity
  Differential input capability with high common mode rejection
  High stability of gain with low temperature coefficient (resistors and other components are manufactured with high precision )
  Low DC offset and drift errors
  Low output impedance

## Slide 11: Two-OpAmp Instrumentation amplifier

## Slide 12: Amplifier
Chopper amplifier