## Slide 1: RA 505 Robot Sensing and Vision Lecture 39
Dr. Rishikesh Kulkarni
Department of Electronics and Electrical Engineering
IIT Guwahati

## Slide 2: Operational Amplifier
Signal conditioning
  Amplification
  Filtering
  Linearization
Op-amp parameters
  Open-Loop Voltage Gain, Slew rate, input offset voltage, input bias current, input offset current, output offset voltage Common Mode Rejection Ratio (CMMR), power supply rejection ratio (PSRR), differential input impedance, output impedance, average temperature coefficient of input offset current, average temperature coefficient of input offset voltage, output short circuit current, etc.

## Slide 3: Amplifiers
Non-inverting amplifier
  Non-ideal open loop gain
Inverting amplifier
Integrator
  Input signal time period
  Time-constant
Differentiator

## Slide 4: Amplifier
Summing amplifier
Subtracting amplifier
Instrumentation amplifier
  Selectable gain with high gain accuracy and gain linearity
  Differential input capability with high common mode rejection
  High stability of gain with low temperature coefficient (resistors and other components are manufactured with high precision )
  Low DC offset and drift errors
  Low output impedance

## Slide 5: Two-OpAmp Instrumentation amplifier

## Slide 6: Amplifier
Chopper amplifier

## Slide 7: Amplifier
Chopper amplifier
Isolation amplifier

## Slide 8: Filters
Noise filtering
Selecting certain frequency signal
Anti-aliasing filter
ADC/DAC
Filter characteristics
  Passband
  Stopband/attenuation band
  Cut-off frequency

## Slide 9: Filters
Cut-off frequency (fc): Frequency at which the filter amplitude response drops to -3 dB
Stop band frequency ( fs): Frequency at which the minimum attenuation in the stop-band is reached.
Pass-band ripple (Amax): Variation in the pass-band response.
Pass-band attenuation (Amin): The minimum signal attenuation within the stop band.
Filter order (M): The steepness of the filter. M is also the number of poles in the filter transfer function.

## Slide 10: Transfer function
Passive filters
  R, L, C
Active filters
  Op-amp, R, L, C
ZL, Zc
n : filter order
First order low-pass filter
First order high-pass filter

## Slide 11: Transfer function
Second order filter (n = 2)
  F0: cut-off frequency
  Q: quality factor

## Slide 12: Transfer function
Phase response
Band-pass filter
  Selectivity

## Slide 13: Time response of filters
Design of filters
  Frequency and time response specifications
  Impulse, step, sinusoidal input
The impulse response of a filter, in the time domain, is proportional to the bandwidth of the filter in the frequency domain
Amplitude discrimination (the ability to distinguish between the desired signal from other, out of band signals and noise) and time response are inversely proportional.

## Slide 14: Filter realizations
Butterworth, Cheybeschev, Bessel and Ellipic filters
Butterworth: flat pass band and flat stop band
Cheybeschev: ripple pass-band and flat stop-band
Ellipic: ripple pass-band and ripple stop-band
Each filter type have distinct pole positions in the s-plane
Butterworth (buttap), Bessel (besselap), Chebyschev (cheb1ap, cheb2ap), Elliptic (ellipap)

## Slide 15: First order filter
Low pass and High pass filter

## Slide 16: Second order filter
Transfer function
Low pass filter: Z1 = R2 and Z2 = R3, Z3 = 1/sC2 and Z4 = 1/sC3.